## Slide 1: Adaptive Mode Matching in Advanced LIGO and Beyond
Thomas Vo
Syracuse University
March 26th, 2019
Notes: Hello, my name is Thomas Vo and I want to thank everyone for coming, especially my committee members who have taken time out of their busy schedule to do extra paperwork on my behalf.

## Slide 2: Outline
LIGO Intro
  Gravitational Waves
High Power Operation
  Problems -> Point absorbers
  Possible solutions
Road to the next observing run for Hanford….
  April 1st, 2019
Notes: I will do a quick LIGO introduction, with some words on Gravitational Waves and how LIGO detects them
Then I’ll talk about how high power operation fits into the scheme of getting higher power
Then I’ll talk about only one of the potential pitfalls of

## Slide 3: Space-Time Curvature
The left side is curvature, the right side is mass-energy, with a very tiny conversion factor relating them.
“ Mass tells space-time how to curve and space-time tells mass how to move.” – John Wheeler
Notes: The left side is curvature in 1/m^2 the right side is energy density that curves space-time. After crunching the numbers we see a small conversion factor. And I think John Wheeler said it best:

## Slide 4: Gravitational Waves
GWs are ripples in the fabric of space time!
Notes: A droplet of water causing the waves on a puddle
I actually like to think of GWs as waves in concrete, normally flat, still and stiff but under the right conditions, waves can occur

## Slide 5: Gravitational Waves
Notes: It requires black holes and other astrophysical objects that have enough mass density to create

## Slide 6: Gravitational Waves
This is how they affect free floating particle.

## Slide 7: Basic Michelson Interferometer
Differential Arm Motion!
L
L
Notes: A laser enters from the left and is split by a 50/50 beam splitter, and goes down both arms and back…as light propagates through space, it gains phase (which depends on the lengths). The light recombines at the BS and depending on the phase difference, the light will either destructively or constructively interfere.

## Slide 8: 1.3 Billion Light Years Away…
Notes: Meanwhile on earth, we were just beginning multi-celluar life.

## Slide 9: LIGO is Complicated
Notes: *Sigh* the big guy….things get difficult

## Slide 10: A “Simplified” Diagram
5 degrees of freedom
  DARM
  CARM
  PRCL
  SRCL
  MICH
Notes: The laser input is pumped into the interferometer as before and entering the interferometer, the light passes through the beam splitter and into the arm cavities bouncing back and forth hundreds of times, then coming back. But since the anti symmetric port is on dark fringe , most of the power gets reflected, then you put a mirror there to recycle the power. The signal recycling mirror also adds a little gain but mostly changes the response of the interferometer to gravitational waves.
In just length! 5 dofs

## Slide 11: Fundamental Noise in LIGO
Notes: This is the noise floor of our instrument with frequency on the x axis and strain on the y axis. Frequency, for those unfamiliar is the number of cycles per second, 1 Hz being one cycle per second, 100 Hz being 100 cycles per second.
Noise floor means the best our instrument can do for a given frequency
Lots of noise, lets focus on Quantum Noise

## Slide 12: Actual Noise Budget

## Slide 13: Quantum Limited Sensitivity

## Slide 14: Quantum Limited Sensitivity

## Slide 15: Quantum Limited Sensitivity

## Slide 16: Higher Power
More Photons
More Radiation Pressure
Between 150,000-200,000 Watts in the arm cavities!!!!

## Slide 17: ITM Lensing
This is where 150-200
kWatts live!
How do we diagnose this problem???

## Slide 18: Hartmann Sensors

## Slide 19: Measures Defocus!

## Slide 20: Hartmann Sensor Outputs
ITMX

## Slide 21: Hartmann Sensor Outputs
ITMY

## Slide 22: Challenges of High Power
Increased absorption:

## Slide 23: Challenges of High Power
Increased absorption:

## Slide 24: Challenges of High Power
Increased absorption:

## Slide 25: Challenges of High Power
Increased absorption:

## Slide 26: Why Do We Care?
What are the primary failure points?
What are the effects on noise and performance?
Can we fix it?

## Slide 27: Review PDH Locking
Notes: One of the first primary failure points, we need to look at how “locking” a cavity works in general.
To lock a cavity, we must control either the frequency or the length of the cavity so that the beam goes back and forth such that it ends up constructively interfering with the previous beam. That way the power builds up more and more each pass, only to be limited by the reflectivity, transmissivity, and loss.

## Slide 28: Effect on IFO
Diminished Error Signal
  PRCL
9 MHz

## Slide 29: Effect on IFO
Diminished Error Signal
  Leads to lock losses and makes commissioning much harder.
  17 -> 30 Watts was very difficult and time consuming.
20 Watts
30 Watts

## Slide 30: Effect on IFO
Diminished Error Signal
  Fixed by changing the digital gain, but this is a bandage for the real problem!
20 Watts
30 Watts

## Slide 31: Why Do We Care?
What are the primary failure points?
What are the effects on noise and performance?
Can we fix it?

## Slide 32: Effect on IFO
What about power recycling?
  Measurements indicate a 10% drop in PRG and 40% drop in POP18 with 30 Watts of input power.

## Slide 33: Increased “Junk” Light
9 MHz 9th order coupling.

## Slide 34: Why Do We Care?
What are the primary failure points?
What are the effects on noise and performance?
Can we fix it?

## Slide 35: Thermal Compensation
CO2 lasers
Ring Heaters

## Slide 36: Early Detection Methods
We found the point absorber 4 months into commissioning.
  Required locking the interferometer in length and angular.
  Then powering up to at least 15 Watts of input power.
Possibly for the future, re-arranging the commissioning schedule to specifically look for point absorbers.
  The Hartmann Sensors require about 75 kW of circulating power.

## Slide 37: Early Detection Methods
Lock single arms with power recycling and max input power.
  Easier and faster.
  Can be done one arm at a time.

## Slide 38: Move the spot positions?
Best option so far but limited in range.

## Slide 39: Hanford in the End….
Stable operation at 30-35 Watts of input power
  At least 50% more circulating arm power than O2.
~ 105 Mpc planned for operation
  Almost 50% extra range for binary neutron star inspirals than O2.

## Slide 40: In the Media
“On April 1, the twin facilities in Louisiana and Washington state that make up the Laser Interferometer Gravitational-Wave Observatory will start doing science again after being shut down for more than a year so that workers could install hardware upgrades.”

## Slide 41: Thank You

## Slide 42: Optic Replacement
In O2 we found a point absorber
  So we replaced a bunch of optics!
G. Billingsley G1800345

## Slide 43: GW Signal

## Slide 44: Wavefront Distortion from a Laser
A Laser beam imparts energy onto the surface of the test mass.
Changes the temperature field
Temperature field changes the index of refraction
Power coming in!
Power Escaping!

## Slide 45: Wavefront Distortion from a Laser
A Laser beam imparts energy onto the surface of the test mass
Changes the temperature field
Temperature field changes the index of refraction

## Slide 46: Wavefront Distortion from a Laser
A Laser beam imparts energy onto the surface of the test mass
Changes the temperature field
Temperature field changes the index of refraction
Index of refraction changes the wavefront -> optical path distortion
ACTS LIKE A LENS!!!